## Slide 1
UP Test voltage level (2*U0)
t1 Front time in the range of 10 sec.
t2 Tail time in the range of 10 ms
Significante Parameters of the transient CDA-Test voltage

## Slide 2
Block diagram of the complete CDA test equipment

## Slide 3
Survey Diagram of the PD-Behavior

## Slide 4
Impulsreflectogram of a single PD-Impulse

## Slide 5
PD-Faults on XLPE-Cables

## Slide 6
PD-Imperfection
on a 20 kV-cable

## Slide 7
PD-Measuring Circuit for the CDA-Test
GK Cable under test
CC Coupling Capacitor
MI Measuring Impedance
LE HV Blocking Impedance
ADC A/D Converter
TE Partial Discharge Signal
U(t) Test voltage Signal
AS Computer Based Analyzing System for
PD measurement and localization
VT Voltage Divider
PA CDA Test voltage generator

## Slide 8
PD graph of a void in PMMA at CDA voltage
of both polarities (upper) and 50 Hz test voltage (lower)

## Slide 9
PD pattern of a void in PMMA at CDA voltage
of both polarities (upper) and 50 Hz test voltage (lower)

## Slide 10
Voltage shape of CDA test voltage